Title

Francesco Benà1, Mohamad Hasan Khajedehi1, Jacopo Vivian1, Angelo Zarrella1

1 Department of Industrial Engineering - Applied Physics Section, University of Padova, Via Venezia 1 – 35131, Italy

Abstract

According to… .

Keywords

Keyword1, kkkkkk, wwwwwwwww, xxxxxx, yyyyy.

List of symbols

| AAA | Explanation of symbol | [U.M.] |
| --- | --- | --- |

Subscripts

| S | Meaning of the subscript |
| --- | --- |

Introduction

Background

Piccola introduzione. Contesto in cui si inserisce la ricerca.

Literature Review

Cosa dice la letteratura sulla tematica?

Aim and novelty

Perché vale la pena pubblicare questo lavoro? Novità introdotte dalla ricerca e obiettivi, viste le lacune evidenziate al paragrafo 1.2.

Methodology

In this chapter, the methodology used for the calculation of the absorbed power by the compressor of the Heat Pump is presented. First, preprocessing of the experimental dataset is required to identify in which status the machine is operating, since there is no direct access to the controller of the heat pump. After that, to apply the final model, it is required to calculate the heat capacity and power absorbed in full load by the machine. Finally, the model for the partial load operation is obtained and applied in different case studies.

Status Analysis

To identify in which regime the machine is operating, an empirical law is developed. To identify the status, a rated working condition must be known (in terms of Wdes, HCdes, SET, LExT). The different states are:

- OFF status: the power absorbed by the machine is below 5% of the  Wdes;

- START status: if at the time instant  ti-1 , the unit is in OFF status, whereas at the time instant  ti the absorbed is greater than Wdes, the unit is turning ON;

- STOP status: if at the ti-1 the unit is ON, whereas at instant  ti the absorbed is lower than Wdes, the unit is stopping;

- DHW status: all the analyzed units have been designed for an operative temperature lower than 50°C for space heating and all the systems are equipped with a domestic hot water tank. If the LExT rises above a defined threshold of 50 °C, the machine is producing domestic hot water.

- Defrost status: since there is no direct control on the evaporator, it is assumed that Air to Water Heat pumps are defrosting if the temperature difference between LExT and LET drops below 1 K. The reason why this threshold is defined is because, looking at the temporal series of the temperatures, in some cases, the units exits from defrost status before the two temperatures switches (in an inverse loop defrost, the LET is expected to become greater than LExT because the condenser is now operating as evaporator).;

- STATIONARY, ACCELERATION and MODULATION status: the three conditions are identified by the following formula for Air to Water Heat Pumps (AtW HPs):

|  | status= STAT if Qt+1-Qt-12t≤5% HCdesACC if Qt+1-Qt-12t>5% HCdesDECC if Qt+1-Qt-12t<5% HCdes (1) |  |
| --- | --- | --- |

Where t is the time between two measurements (5 minutes). The threshold of 5% is empirically chosen, looking at the temporal behavior of the machines;

- STATIONARY, ACCELERATION and MODULATION status: the three conditions are identified by the following formula for Water to Water Heat Pumps (WtW HPs):

|  | status= STAT if Qt+1-Qt-12t≤1% HCdesACC if Qt+1-Qt-12t>1% HCdesDECC if Qt+1-Qt-12t<1% HCdes (2) |  |
| --- | --- | --- |

Where t is the time between two measurements (5 minutes). The threshold of 1% is empirically chosen, looking at the temporal behavior of the machines and it is smaller compared to the one selected for the AtW Heat Pumps since this kind of units tend to be more stable compared to the air source ones. Thus, to better identify the transitory regimes, it is required to strict the gap to identify the steady- state operation.

In Figure 1, an example of the identification of the different states is reported for an AtW unit. It is possible to notice the STATIONARY status does not correspond to a flat pattern of the different magnitudes displayed. This is because, in real installations, the machines will never have a perfect flat behavior thanks to all the noises present, which can be removed in a climatic chamber. For the type of study reported in this paper, the conditions reported in the two previous equations give enough satisfactory results.

Figure 1: Status identification sown with different colours for a AtW HPs.

Results

Text.

Figure 1: Plan view of the CORE-CARE laboratory

Tab. 1: Dimensions of the CORE-CARE laboratory

Discussion and future works

Nella discussion (facoltativa) vanno confrontati i risultati ottenuti con la letteratura di settore.

Conclusion

Acknowledgments

References